

Quality, Comfort *&* Peace of Mind

Aluminum Sliding Balcony Door

Product Specifications

Series 4500R

# Foreword

This design guide provides specifications on the Series 4500R sliding aluminum balcony door.

This document is intended to provide information on our standard products. Non-standard designs and applications can be reviewed to determine the feasibility on a project-specific basis.

Please email any project specific enquiries to [technical@starlinewindows.com](mailto:technical@starlinewindows.com?subject=Technical%20Question) or [architectural@starlinewindows.com](mailto:architectural@starlinewindows.com).

This document subject to change without notice.

Starline Windows reserves the right to change or discontinue this product without notice.

[www.starlinewindows.com](http://www.starlinewindows.com)

© 2021-03-16 Starline Windows

Table of Contents

[Product Specification 08 32 13 – Sliding Aluminum Framed Glass Doors 4](#_Toc66784460)

[Part 1 - General 4](#_Toc66784461)

[1.1 Summary 4](#_Toc66784462)

[1.2 Quality Assurance 5](#_Toc66784463)

[1.3 Structural requirements 5](#_Toc66784464)

[1.4 Test and Performance Requirements 6](#_Toc66784465)

[1.5 Submittals 7](#_Toc66784466)

[1.6 Project Conditions 7](#_Toc66784467)

[Part 2 – Products 7](#_Toc66784468)

[2.1 Manufacturers 7](#_Toc66784469)

[2.2 Material 7](#_Toc66784470)

[2.3 Fabrication 8](#_Toc66784471)

[2.4 Glazing1 8](#_Toc66784472)

[2.5 Hardware1 8](#_Toc66784473)

[2.6 Finishes (Powder Coating) 9](#_Toc66784474)

[2.7 Optional Items 9](#_Toc66784475)

[Part 3 - Execution 10](#_Toc66784476)

[3.1 Examination 10](#_Toc66784477)

[3.2 Installation 10](#_Toc66784478)

[3.3 Field Quality and Control 10](#_Toc66784479)

[3.4 Protection and Cleaning 11](#_Toc66784480)

# Product Specification 08 32 13 – Sliding Aluminum Framed Glass Doors

**Note**: Bolded text in this specification are options that are highlighted for the specifier to select or to list requirements.

## Part 1 - General

A high-quality thermally broken aluminum balcony sliding door designed for residential high-rise construction.

### 1.1 Summary

1. Section Includes: Sliding Aluminum Framed Glass Doors
2. Aluminum framed sliding glass balcony door shall be Starline 4500R sliding balcony door series manufactured by Starline Windows with seismic jambs and a deflection header.
3. Work included: Furnish labor, material and other services to complete the fabrication and installation of the doors, including all materials and fitments required for the operation of the units in the manner, direction and performance shown on the shop drawings and specified herein.

Work not included: Structural support of door framing, interior trims. (**Specifier list others**).

Related work specified elsewhere: (**Specifier to list**).

1. Related Sections: (**Specifier to select the following related sections**)
2. 07 27 00 – Air Barriers
3. 07 60 00 – Flashing and Trim
4. 07 92 00 – Joint Sealants
5. 08 13 16 – Aluminum Doors (Outswing Aluminum-Framed Glass Door)
6. 08 44 13 – Glazed Aluminum Curtain Wall
7. 08 46 13 – Glazed Aluminum Window Wall
8. 08 51 13 – Aluminum Windows
9. 08 80 00 – Glazing

### 1.2 Quality Assurance

1. Drawings and specifications for work of this section are based upon the Series 4500R Sliding Balcony Door manufactured by Starline Windows. Whenever alternative products are offered, submit supporting technical literature, samples, drawings and performance data for comparison 10 days prior to closing date. Test reports must be made available on request. (Specifier to select).
2. Doors to be tested **(in the near future)** to and will conform to the AAMA/WDMA/CSA 101 I.S.2/A440-08, AAMA/WDMA/CSA 101 I.S.2/A440-11, AAMA/WDMA/CSA 101 I.S.2/A440-17, CSA A440SI-09, and CSA A440SI-17

**Note:** The testing for the door is a work in progress and has not been completed at this time.

1. Manufacturer Qualifications:
2. Manufacturer to have a minimum 10 years of documented experience.
3. Manufacturer capable of providing an aluminum-framed outswing door system that meet or exceed the performance requirements indicated.
4. Manufacturer capable of providing field representation during door installation.
5. Installer Qualifications: Installer performing the Work in this Section to have a minimum of 3 years documented experience and approved by the manufacturer.
6. Mock-Up: If requested by Consultant, a mock up is to be provided and installed at project site. Mock-up to include acceptable products and manufacturer approved installation methods. Obtain Owner's and Consultant’s acceptance of finish color, and workmanship standard.

### 1.3 Structural requirements

1. Structural performance shall be based on CSA Standard CSA S157-17 “Strength Design in Aluminum”.
2. Limit mullion deflection to L/175.
3. Allow for deflection of building structure. Aluminum door frames with deflection channel and seismic jambs shall be designed, fabricated and installed to withstand slab edge vertical differential deflections of maximum 3/4” **1** and seismic inter-story lateral drift movements of elastic +/- 3/4” **1** without significant damage to the fenestration system or in-elastic +/- 2 1/2” **1** with significant damage expected but framing to be designed to remain anchored to the structure.

**1** Note to specifier: Values may change based on the configuration of the doors. Values to be specified by a Professional Engineer.

### 1.4 Test and Performance Requirements

**Specifier to select from the following performance requirements**.

1. Doors shall meet performance class **LC-PG401** when tested to AAMA/WDMA/CSA 101 I.S.2/A440-11, AAMA/WDMA/CSA 101 I.S.2/A440-17, CSA A440SI-17, and CSA A440SI-19.
2. Air Infiltration: Sliding door air infiltration shall not exceed 0.09 cfm/ft2 (A3) when tested in accordance with ASTM E 283 with a pressure difference of 1.57 psf / 75 Pa.
3. Water Penetration Resistance:
4. There shall be no water infiltration for doors when tested in accordance with ASTM E547 with a pressure difference of 15.00 psf / 720 Pa (Laboratory Test).
5. There shall be no water infiltration for doors when tested in accordance with AAMA 502-08 with a pressure difference up to a maximum of 10.4 psf / 500 Pa (Field Test)**2**
6. Uniform Load Deflection Test: The deflection of door shall not exceed L/175 and there shall be no permanent set when tested in accordance with ASTM E330 with a design pressure of 40 psf / 1920 Pa, positive and negative.
7. Uniform Load Structural Test: There shall be no damage to hardware, accessories, fasteners, or any other damage that would render the door inoperable when tested in accordance with ASTM E330 with a structural test pressure of 60.15 psf / 2880 Pa, positive and negative.
8. Forced Entry Resistance: Door shall meet grade 10 when tested to ASTM F842.
9. Thermal Performance**3**
   * 1. U-value: The maximum door thermal transmittance U-value shall be 0.349 BTU/ hr\*ft2\*°F (1.98 W/m2\*k) **4** when tested in accordance with AAMA 1503.1 and CAN/CSA-A440.2. Door shall be tested to N.F.R.C. standard 100 & 200.
     2. Solar Heat Gain Coefficient: A (**maximum or minimum**) of 0.315.
     3. Visible Light Transmittance: A (**maximum or minimum**) of 0.567.

**Note:** The NFRC certification for the door is a work in progress and has not been completed at this time. The values in this section have been provided by Starline’s NFRC in-house certified Simulator using NFRC methodology using Windows and Therm.

Note to specifier:Performance class result is based on lab testing and will vary by configuration and glass type. Contact Starline Windows for information on how the product can be engineered to achieve higher performance class than specified above.

**2** Note to specifier: 300Pa / 6.27 psf is the maximum field test result that can be achieved. Should the Project Specifications state a water penetration resistance field test pressure of a lesser value, the project specified values shall govern. There is an option for enhanced water penetration resistance up to 500Pa / 10.4 psf, for a field test. Refer to [**2.7.B**](#_2.7_Optional_Items_1) of this specification. The water penetration resistance field tests follow the criteria and testing procedures as outlined in the AAMA 502-08 specification standard.

**3** Note to specifier: Thermal performance depends on glass specified. Above test was performed using 25mm double glazed insulated glass unit (6mm/Argon/4mm) with standard high-performance soft coat (sputtered) Low E which is applied to surface #2, 90% argon + 10% air fill with warm edge spacer bar. The NFRC door test size was 79” x 79” (2000mm x 2000mm).

**4** Note to specifier: There are a couple of options to thermally enhance the 4500R to achieve slightly better energy values.

### 1.5 Submittals

1. Product Data: Submit complete product data on system being used.
2. Shop Drawings: Submit complete shop drawings which include floor plans, elevations, door schedule, and product components including anchorage, fasteners, accessories and finish colour.
3. Samples: Submit glass and frame colour(s) samples.
4. Close-out Submittals:
5. Warranty: Submit executed Manufacturer’s warranty which provides a guarantee for the complete installation provided under this section against defective material and workmanship which appears within a period of two years from the date of substantial completion.
6. Project Record Documents: Submit operation and maintenance data for installed product in accordance with General Conditions

### 1.6 Project Conditions

1. Field Measurements: Verify actual measurements / openings by field measurements prior to fabrication, until it is agreed upon in writing between the Door Manufacturer and the General Contractor that floors become “typical”. Once typical the doors can be ordered off the previous field measurements.
2. Indicate field measurements on shop drawings.

## Part 2 – Products

### 2.1 Manufacturers

1. Acceptable Manufacturers: Starline Windows
2. Sliding Aluminum Framed Glass Door: Series 4500R.
3. Substitutions: Approved alternates

### 2.2 Material

1. Aluminum Extrusion: 4 1/2" deep perimeter frame member. Frame member and intermediate bars are extruded from aluminum sections of 6063 alloy, T5 temper with a minimum thickness of 0.064”.
2. Fasteners: Stainless steel and of sufficient size and quantity to perform their intended function.
3. Glazing Gaskets:
4. Slider: Extruded Santoprene.
5. Fixed lite
6. Interior: Tremco Polyshim II glazing tape
7. Exterior: Foam Gasket
8. Glass Setting Blocks & Edge Blocks: FPVC, Neoprene, EPDM, Santoprene or silicone with an 80 to 90 ± Shore A durometer hardness. Block material shall be compatible with sealed unit edge sealant. Setting blocks for sealed units with silicone edge seals must be silicone.
9. Glazing bead: Extruded aluminum and glazed from the outside.
10. Thermal break: Polyamide.

### 2.3 Fabrication

1. Fabricate framing from extrusions of size and shape shown on shop drawings.
2. Interior and exterior extruded aluminum framing sections shall be integrated with a Polyamide thermal break to form a rigid composite assembly without the use of fasteners or other thermal bridging elements. Dry shrinkage of polyamide thermal break shall not exceed 0.10% of the framing member length.
3. Main framing extrusions shall be mitre corner construction.
4. Sliding ventilator extrusions shall be butt corner construction.
5. All framing profiles shall be straight and free of deformations and defects.
6. Joints shall be accurately machined, fitted and sealed.
7. Coupling mullions shall be designed to provide a functional split to permit modular construction and allow for thermal expansion.
8. Perimeter frame shall be 4 1/2" deep with a minimum wall thickness of .064" (1.60mm) and be thermally broken.
9. Sliding ventilator shall be 1 9/16" deep with a minimum wall thickness of .064" (1.60mm) and be thermally broken.
10. All frame corners are mechanically joined by stainless steel screws.
11. All interior joints and interior screw heads shall be sealed with a non-hardening sealant.
12. Sliding ventilator shall have a single Mohair weather strip with fin seal at the interlock. The sill, the head and the jamb at the frame shall have a Mohair weather strip with fin seal.
13. Glass bead shall be aluminum and a snap-in screw less type at the fixed lite.

### 2.4 Glazing1

1. Double glazed, double seal insulated glass unit with an overall thickness of 1” (25 mm).
2. Standard high-performance soft coat (sputtered) Low E applied to surface #2.
3. Black warm edge spacer with argon fill.
4. Glass thickness shall be a minimum of 4mm. Glass thickness and quality shall conform to the requirements of the U.S.A. and Canadian Code for commercial construction, current edition.
5. Glass shall be tempered.
6. Where practical, glazing shall be installed at the factory before shipping to site.

**1**Note to specifier: Glazing noted above is based on Starline Windows Ltd. standard product offering. There are various other options available. Refer to [**2.7.A**](#_2.7_Optional_Items_1) of this specification.

### 2.5 Hardware1

1. Hardware shall be furnished by the door manufacturer.
2. Where practical, all hardware fittings shall be installed at the factory before shipping to site.
3. Hardware shall be as follows:
4. Sliding panel shall slide on adjustable ball bearing steel wheels.
5. Commercial handle is made from die cast aluminum. The interior handle is a hook latch-locking handle that positively engages with an adjustable keeper (non-keyed) at the frame jamb.
6. Interior and exterior handles are made from die-cast aluminum.
7. Mill finish is available and is powder coated to match the exterior and interior frame colour.

### 2.6 Finishes (Powder Coating)

1. All exposed surfaces of aluminum door and framing members shall be free of scratches and other serious surface blemishes.
2. Finishes**1**.
3. **Thermoset coating specifically designed for architectural systems. Coating to comply with AAMA 2603 specification** and/or
4. **Upgrade to a thermoset super durable coating which complies with the AAMA 2604 specification standards. The AAMA 2604 standard demands advanced levels of weather resistance, gloss and colour retention, and corrosion resistance, among other increased standards when compared to the AAMA 2603 specification standard.**
5. **Upgrade to a thermoset fluorocarbon coating specifically designed for architectural systems. Coating to comply with the AAMA 2605 specification which demands advanced levels of weather resistance, gloss and colour retention, and corrosion resistance, among other increased standards when compared to the AAMA 2603 and 2604 specification**.
6. Colour Options**2**.
7. Standard colours are as follows. (**Specifier to select from the standard colour(s) listed below)**. These standard colours are **available in the AAMA 2603, AAMA 2604 and AAMA 2605 specification standards**.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **White** | **Black** | **Brown** | **Silver3** | **Charcoal Grey** |
|  |  |  |  |  |

1. Semi-standard colours**4** are as follows. (**Specifier to select from the semi-standard colour(s) listed below)**. These semi-standard colours are **available in the AAMA 2603, AAMA 2604 and AAMA 2605 specification standards**.

|  |  |  |  |
| --- | --- | --- | --- |
| **Graphite Grey**  **Black Charcoal** | **Grey Velvet**  **Kendall Charcoal** | **Iron Mountain Grey**  **Beige** | **Metal Shavings Grey** |

**1** Note to Specifier: Select 2.6.B.1 and/or 2.6.B.2 and/or 2.6.B.3. Option to have dual frame colour and / or AAMA 2603 coating on interior and AAMA 2604 or AAMA 2605 coating on exterior is available, if standard and / or semi-standard and / or custom colour is selected. Refer to [**2.7.G.1**](#_2.7_Optional_Items_1) of this specification.

**2** Note to Specifier: Refer to [**2.7.G.2**](#_2.7_Optional_Items_1) of this specification for Custom Colours.

**3** Note to Specifier: Standard Silver is available for an additional cost.

**4** Note to Specifier: Semi-standard colours are available for an additional cost. May require up to a 4-week lead time.

### 2.7 Optional Items

1. Glazing
2. Varying glass thickness available in 4mm and greater (**Specifier to select glass thickness**).
3. Tinted, obscured & reflective glass
4. Laminated glass
5. Enhanced water penetration resistance to provide field test water rating up to 500Pa. (Addition of 1 3/16” tall pvc insert at the sill).
6. Side lite
7. Transom
8. Bypass
9. Provisions for Juliette Balcony. **Note:** Juliette Balcony, hardware, and long nuts, by others.
10. Finishes (Powder Coating)
    1. Dual frame color – 1 color on exterior and 1 color on interior (refer to [**2.6.C**](#_2.6_Finishes_(Powder) for color options)
11. Finish to comply with AAMA 2603 standard on both interior and exterior.
12. Finish to comply with AAMA 2604 standard on both interior and exterior.
13. Finish to comply with AAMA 2605 standard on both interior and exterior.
14. Finishes to comply with AAMA 2603 standard on interior and AAMA 2604 standard on exterior.
15. Finishes to comply with AAMA 2603 standard on interior and AAMA 2605 standard on exterior.
    1. **Custom colours1**. (Specifier to state custom colour) Virtually any colour can be matched or very closely matched. The scope of work and overall custom colour quantity will be reviewed by Starline on a project specific basis to determine the feasibility of the custom colour request.

**1** Note to Specifier:Custom colours are available for an additional cost premium. An approximate 12-week lead time is required to procure custom colour requests.

## Part 3 - Execution

### 3.1 Examination

1. Installer to examine openings, structural support, substrates and any other conditions that would affect the installation, for compliance with manufacturer’s instructions.
2. Verify rough opening dimensions.
3. Verify sill is within tolerance of levelness to ensure adequate shimming to obtain proper drainage.

### 3.2 Installation

1. Install manufacturer’s system in accordance with manufacturer’s approved shop drawings.
2. Doors shall be installed and adjusted by experienced personnel in accordance with the manufacturer instructions and approved shop drawings.
3. All items in this section shall be set in their correct location and shall be set level, square, plumb and at proper elevations and in alignment with other work.
4. The doors are installed at site with a maximum variance to plumb of +/- 0.25%. (+/- 1/4" / 96”).

### 3.3 Field Quality and Control

1. Manufacturer’s Field Services: Upon Owner and/or Consultants written request, provide manufacturer’s field service representative for site visit to inspect installation and to ensure accordance with manufacturer’s instruction and approved shop drawings.
2. Field Tests: Owner and/or Consultant may choose to conduct tests for water penetration and air infiltration.
3. Testing Standard per AAMA 502.
4. Field testing shall be performed by a qualified independent testing agency.
5. Field testing should not occur until the door has been installed and the caulking is cured. Ensure the products used to complete the building envelope tie in (membrane, caulking, flashing, cladding, etc.) are installed complete and have cured.

### 3.4 Protection and Cleaning

1. Protection:
2. Doors shall be protected with blue poly during and after installation until acceptance by the General Contractor. Thereafter, it shall be the responsibility of the General Contractor to protect the installed product from construction damage.
3. Doors shall be isolated from concrete, mortar, plaster and dissimilar metals with bituminous paint or other isolation coatings.
4. Cleaning: It shall be the responsibility of the General Contractor to maintain protection and provide final cleaning.

**Note**: This specification is intended to be used by a qualified Specifier and will require modifications for the project specific requirements. This specification is not intended to be use verbatim as the project specific specification.

Laws, building and safety codes governing the design and use of this product vary widely. Starline Windows does not control the selection and use of this product and assumes no responsibility therefor.